Government of Pakistan

National Vocational and Technical Training Commission

Prime Minister’s Hunarmand Pakistan Program

"Skills for All"

Course Contents / Lesson Plan

Course Title: 	Mason (Builder)

Duration: 6 Months

Revised Edition

| Trainer Name |  |
| --- | --- |
| Course Title | Mason (Builder) |
| Objectives and Expectations | Employable skills for youth who want to be Mason and like to hard working, it is an intensive course on Mason (Builder) This is a special course designed to address unemployment in the youth. The course aims to achieve the above objective through hands on practical training delivered by a team of dedicated professionals having rich market/work experience. This course is therefore not just for developing a theoretical understanding/back ground of the trainees. Contrary to that it is primarily aimed at equipping the trainees to perform commercially in a market space in independent capacity or as a member of a team. The course therefore is designed to impart not only technical skills but also soft skills (i.e. interpersonal/communication skills; personal grooming of the trainees etc) as well as entrepreneurial skills (i.e. marketing skills; free lancing etc). The course also seeks to inculcate work ethics to foster better citizenship in general and improve the image of Pakistani work force in particular. Main Expectations: In short, the course under reference should be delivered by professional instructors in such a robust hand on manner that the trainees are comfortably able to employ their skills for earning money (through wage/self-employment) at its conclusion. This course thus clearly goes beyond the domain of the traditional training practices in vogue and underscores an expectation that a Key Features of Training& Special Modules market centric approach will be adopted as the main driving force while delivering it. The instructors should therefore be experienced enough to be able to identify the training needs for the possible market roles available out there. Moreover, they should also know the strengths and weaknesses of each individual trainee to prepare them for such market roles during/after the training. i. Specially designed practical tasks to be performed by the trainees have been included in the Annexure-I to this document. The record of all tasks performed individually or in groups must be preserved by the management of the training Institute clearly labelling name, trade, session etc. so that these are ready to be physically inspected/verified through monitoring visits from time to time. The weekly distribution of tasks have also been indicated in the weekly lesson plan given in this document. ii. In order to materialize the main expectations, a special module on Job Search & Entrepreneurial Skills has been included in the later part of this course (5th & 6th month) through which, the trainees will be made aware of the Job search techniques in the local as well as international job markets (Gulf countries). Awareness around the visa process and immigration laws of the most favored labour destination countries also form a part of this module. Moreover, the trainees would also be encouraged to venture into self-employment and exposed to the main requirements in this regard. It is also expected that a sense of civic duties/roles and responsibilities will also be inculcated in the trainees to make them responsible citizens of the country. Training Tools/ Methodology iii. A module on Work Place Ethics has also been included to highlight the importance of good and positive behavior at work place in the line with the best practices elsewhere in the world. An outline of such qualities has been given in the Appendix to this document. Its importance should be conveyed in a format that is attractive and interesting for the trainees such as through PPT slides +short video documentaries. Needless to say that if the training provider puts his heart and soul into these otherwise non-technical components, the image of Pakistani workforce would undergo a positive transformation in the local as well as international job markets. In order to maintain interest and motivation of the trainees throughout the course, modern techniques such as: • Motivational Lecture • Success Stories • Case Studies These techniques would be employed as an additional training tool wherever possible (these are explained in the subsequent section on Training Methodology). Lastly, evaluation of the competencies acquired by the trainees will be done objectively at various stages of the training and proper record of the same will be maintained. Suffice to say that for such evaluations, practical tasks would be designed by the training providers to gauge the problem-solving abilities of the trainees. (i) Motivational Lecture The proposed methodology for the training under reference employs motivation as a tool. Hence besides the purely technical content, a trainer is required to include elements of motivation in his/her lecture to inspire the trainees to utilize the training opportunity to the full and strive towards professional excellence. Motivational lectures may also include general topics such as the importance of moral values and civic role & responsibilities as a Pakistani. A Motivational Lecture should be delivered with enough zeal to produce a deep impact on the trainees. It may comprise of the following:  Clear Purpose to convey message to trainees effectively.  Personal Story to quote as an example to follow.  Trainees Fit so that the situation is actionable by trainees and not represent a just idealism.  Ending Points to persuade the trainees on changing themselves. A good Motivational Lecture should help drive creativity, curiosity and spark the desire needed for trainees to want to learn more. Impact of a successful motivational strategy is amongst others commonly visible in increased class participation ratios. It increases the trainees’ willingness to be engaged on the practical tasks for longer time without boredom and loss of interest because they can clearly see in their mind's eye where their hard work would take them in short (1-3 years); medium (3 -10 years) and long term (more than 10 years). As this tool is expected that the training providers would make arrangements for regular well planned Motivational Lecture(For further detail please see Page No: 4)s as part of a coordinated strategy interspersed throughout the training period as suggested in the weekly lesson plans in this document. (ii) Success Stories Another effective way of motivating the trainees is by means of Success Stories. Its inclusion in the weekly lesson plan at regular intervals have been recommended till the end of the training. A success story may be disseminated orally, through a presentation or by means of a video/documentary of someone that has risen to fortune, acclaim, or brilliant achievement. A success story shows how a person achieved his goal through hard work, dedication and devotion. An inspiring success story contains compelling and significant facts articulated clearly and easily comprehendible words. Moreover, it is helpful if it is assumed that the reader/listener knows nothing of what is being revealed. Optimum impact is created when the story is revealed in the form of: -  Directly in person (At least 2-3 cases must be arranged by the training institute)  Through an audio / videotaped message (2-3 high quality videos must be arranged by the training institute) It is expected that the training provider would collect relevant high quality success stories for inclusion in the training as suggested in the weekly lesson plan given in this document. Suggestive structure and sequence of a sample success story and its various shapes can be seen at annexure III. (iii) Case Studies Where a situation allows, case studies can also be presented to the trainees to widen their understanding of the real life specific problem/situation and to explore the solutions. In simple terms, the case study method of teaching uses a real life case example/a typical case to demonstrate a phenomenon in action and explain theoretical as well as practical aspects of the knowledge related to the same. It is an effective way to help the trainees comprehend in depth both the theoretical and practical aspects of the complex phenomenon in depth with ease. Case teaching can also stimulate the trainees to participate in discussions and thereby boost their confidence. It also makes class room atmosphere interesting thus maintaining the trainee interest in training till the end of the course. Depending on suitability to the trade, the weekly lesson plan in this document may suggest case studies to be presented to the trainees. The trainer may adopt a power point presentation or video format for such case studies whichever is deemed suitable but it’s important that only those cases are selected that are relevant and of a learning value. The Trainees should be required and supervised to carefully analyze the cases. For the purpose they must be encouraged to inquire and collect specific information / data, actively participate in the discussions and intended solutions of the problem / situation. Case studies can be implemented in the following ways: - - A good quality trade specific documentary (At least 2-3 documentaries must be arranged by the training institute). - Health & Safety case studies (2 cases regarding safety and industrial accidents must be arranged by the training institute) - Field visits (At least one visit to a trade specific major industry/ site must be arranged by the training institute) |
| Entry-level of trainees | Primary |
| Teacher Eligibility Criteria | DAE in Civil has 3 years of relevant experience. OR Intermediate along with 06 Months certificate in Mason having 5 years of relevant experience. |
| Learning Outcomes of the Mason course | After completion of this course, the trainees must be able to: 1. Technical Knowledge - Understand the properties and uses of masonry materials, including bricks, stones, concrete blocks, cement, sand, and aggregates. - Explain the types of mortar and their appropriate applications in construction. Recognize different types of masonry structures 2. Practical Skills - Prepare, mix, and apply mortar in the correct proportions for different tasks, Lay bricks, stones, and blocks in straight lines, corners, and other configurations with accuracy. - Use tools and equipment like trowels, levels, hammers, and saws safely and effectively. - Perform plastering, pointing, and finishing techniques to achieve a smooth and durable surface. - Construct reinforced masonry structures, including lintels, arches, and walls. Repair and maintain existing masonry structures by repointing or replacing materials. 3. Safety and Workplace Practices - Identify and mitigate common hazards associated with masonry work. - Use personal protective equipment (PPE) appropriately during all phases of construction. Follow site cleanliness and waste management practices. 4. Communication and Collaboration - Communicate effectively with supervisors, colleagues, and other tradespeople. Follow verbal and written instructions accurately for construction tasks. 7. Industry Standards and Sustainability - Comply with building codes, quality standards, and construction regulations. Apply sustainable practices in masonry, such as minimizing waste and using eco-friendly materials. - Understand advancements in masonry technologies and tools. Assessment of Learning Outcomes - Practical demonstrations of masonry techniques (e.g., bricklaying, plastering). - Written or oral tests on material knowledge and safety practices. - Evaluation of completed projects for quality, precision, and compliance. |
| Course Execution Plan | The total duration of the course: 6 months (24 Weeks) Class hours: 4 hours per day Theory: 20% Practical: 80% Weekly hours: 20 hours per week Total contact hours: 480 hours |
| Companies offering jobs in the respective trade | Besides overseas employment, the following Pakistani companies/firms/Organizations are also offering jobs as well, with details as under: 1. Perform any private sector 2. Government Institutes 3. LDA, Etc. 4. Contractorship 5. Construction Firms 6. Airports 7. Public Health Department 8. Pakistan Railways 9. Highways Department 10. Restoration and Heritage Conservation Organizations 11. Muncipal corporation 12. International Organizations and NGOs |
| Job Opportunities | The field of Mason offers lot of job opportunities across various sectors. Professionals can work as Mason field and decorators, responsible for preparing surfaces along with structures of residential, commercial and industrial buildings. Specialized roles like tile fixers focus on even coatings for large surfaces. Supervisory roles such as Master mason can oversee teams to ensure quality and timely project completion. Maintenance of different structures are essential for regular upkeep in facilities like hotels, hospitals, and schools. With opportunities spanning construction, real estate, hospitality, and industrial maintenance, this trade combines creativity with technical expertise, offering a rewarding career path. |
| No of Students | 25 |
| Learning Place | Classroom / Lab |

MODULES

| Scheduled Weeks | Module Title | Days | Learning Units | Home Assignment |
| --- | --- | --- | --- | --- |
| Week 1 | Identify and Implement Workplace Policies and Procedures | Day 1 | Course Introduction and Expectations | - Task 1 Details may be seen at Annexure-I |
|  |  |  | Motivational lectures for about Masonry work |  |
|  |  |  | Job Market Overview |  |
|  |  |  | Work Ethics in Institute |  |
|  |  | Day 2 | History of Mason |  |
|  |  |  | Current State of Mason Work |  |
|  |  |  | Demand of Mason in Pakistan |  |
|  |  |  | Ethical Considerations in Mason work |  |
|  |  | Day 3 | Workplace health and safety |  |
|  |  |  | Responsibility of Mason |  |
|  |  |  | Types of Masons |  |
|  |  |  | Strategies for continuous improvement for Mason |  |
|  |  | Day 4 | Implement strategies for continuous improvement for mason |  |
|  |  |  | Market overview of Mason work |  |
|  |  |  | Responsibility of Mason |  |
|  |  |  | Organization / Company policies for Masons or Workers |  |
|  |  | Day 5 | Introduction for safety signals and signs. Prepare checklist for safety signs. |  |
|  |  |  | Understanding unity during work |  |
|  |  |  | Prepare checklist for safety signals. |  |
|  |  |  | Prepare checklist for warnings signals. |  |
| Week 2 | Apply Work Health and Safety Practices (WHS) | Day 1 | Procedures of Work, Health and Safety. | - Task 2 Details may be seen at Annexure-I |
|  |  |  | Introduction to protective equipment according to safe work place. |  |
|  |  |  | Type of PPEs |  |
|  |  |  | Way to adopt PPEs |  |
|  |  | Day 2 | Introduce most common hazards in masonry work |  |
|  |  |  | identify different hazards on a construction site |  |
|  |  |  | Address hazards on a construction site |  |
|  |  |  | Discuss common injuries that could occur due to unsafe practices in masonry work. |  |
|  |  | Day 3 | Discuss different risks might a mason. |  |
|  |  |  | Identify different risks facing during masonry work. |  |
|  |  |  | Discuss environmental factors during masonry work. |  |
|  |  |  | Implement evacuation procedures for work |  |
|  |  | Day 4 | Implement awareness of hazards can help prevent accidents on-site during masonry work. |  |
|  |  |  | Implement emergency at workplace. |  |
|  |  |  | Procedure to Implement emergency at workplace. |  |
|  |  |  | Discuss in line with workplace procedures. |  |
|  |  | Day 5 | Methods to free from common hazards at site. |  |
|  |  |  | Discuss to own level of responsibility |  |
|  |  |  | Discuss potential consequences to PPEs |  |
|  |  |  | Enlist potential consequences to PPEs |  |
| Week 3 | Communicate at Workplace | Day 1 | Introduce Effective Communication on a Construction Site | Task 3 Details may be seen at Annexure-I |
|  |  |  | Discuss different communication procedure |  |
|  |  |  | Communication in Ethics |  |
|  |  |  | Easy communication process |  |
|  |  | Day 2 | Introduce Communication stages |  |
|  |  |  | Steps of communications |  |
|  |  |  | Role plays of communication |  |
|  |  |  | Communicate with vendors |  |
|  |  | Day 3 | Communicate with clients/customers |  |
|  |  |  | Communicate with relevant stakeholders |  |
|  |  |  | Communicate with team members |  |
|  |  |  | Communicate with supervisor. |  |
|  |  | Day 4 | State Uses of various media to communicate effectively |  |
|  |  |  | Enlist type of media uses for communications |  |
|  |  |  | State Communication with Tools Practice |  |
|  |  |  | State 7C’s of effective communication |  |
|  |  | Day 5 | State Key Communication Skills for Construction Sites |  |
|  |  |  | Feedback & confirmation in communication |  |
|  |  |  | Enlist Channel of Communication |  |
|  |  |  | Define interpretation in communication |  |
| Week 4 | Communicate at Workplace | Day 1 | Importance of intra organizational communication | - Task 4 Details may be seen at Annexure-I |
|  |  |  | Importance of inter organizational charts. |  |
|  |  |  | Discuss constructive feedback at communication |  |
|  |  |  | Discuss Safety Communication |  |
|  |  | Day 2 | Introduction to Timeliness in communication |  |
|  |  |  | Discuss Conflict Resolution |  |
|  |  |  | Practice to Communicate messages to group members |  |
|  |  |  | Practice to Use various media to communicate messages |  |
|  |  | Day 3 | Identify the issues at workplace |  |
|  |  |  | Discuss Safety Concerns at construction sites. |  |
|  |  |  | Provide appropriate suggestion for different issues |  |
|  |  |  | Discuss Management & Leadership |  |
|  |  | Day 4 | Identify Workplace Issues |  |
|  |  |  | Process to overcome workplace issues |  |
|  |  |  | Identify type of Workplace Issues |  |
|  |  |  | Differentiate between organization and non-organization issues |  |
|  |  | Day 5 | Feedback and revision for site issues |  |
|  |  |  | Define aesthetic working place |  |
|  |  |  | Differentiate between construction site and workspace |  |
|  |  |  | Define organizational chart. |  |
| Week 5 | Estimate Civil Work for a project | Day 1 | Discuss Steps for Estimating Civil Work | - Task 5 Details may be seen at Annexure-I |
|  |  |  | Interpret architectural drawings |  |
|  |  |  | Interpret structural drawings |  |
|  |  |  | Interpret public health drawings |  |
|  |  | Day 2 | Interpret electrical drawings |  |
|  |  |  | Discuss different material quantities for a project |  |
|  |  |  | Enlist Civil Works Components |  |
|  |  |  | State methods for costs of civil works projects |  |
|  |  | Day 3 | Introduction to requirement of the building materials |  |
|  |  |  | Enlist material required for plaster work |  |
|  |  |  | Differentiate between PCC and RCC |  |
|  |  |  | Enlist for PCC Material |  |
|  |  | Day 4 | Define specification of different materials. |  |
|  |  |  | State quality and quantity |  |
|  |  |  | Enlist type of estimate |  |
|  |  |  | Enlist material required for brick soling. |  |
|  |  | Day 5 | Estimate material required for brick soling 100 sq.m |  |
|  |  |  | Estimate material required for PCC 100 cu.m |  |
|  |  |  | Estimate material required for POINTING 100 sq.m |  |
|  |  |  | Estimate material required for Plaster work for 100 sq.m |  |
| Week 6 | Estimate Civil Work for a project | Day 1 | Define Cost Estimation | - Task 6 Details may be seen at Annexure-I |
|  |  |  | Enlist type of Cost Estimation |  |
|  |  |  | Define rough cost Estimate |  |
|  |  |  | Define detail estimate |  |
|  |  | Day 2 | Calculate the man-hours required for brick work 100 cu.m |  |
|  |  |  | Calculate the man-hours required for plain cement concrete (PCC) 100 cu.m |  |
|  |  |  | Calculate the man-hours required for reinforced cement concrete 100 cu.m |  |
|  |  |  | Calculate the man-hours required for plaster work 150 sq.m |  |
|  |  | Day 3 | Calculate the man-hours required for brick soling for 250 sq.m |  |
|  |  |  | State safety addressed in civil working drawings. |  |
|  |  |  | State Different types of working drawings |  |
|  |  |  | Discuss uses of measuring and marking tools |  |
|  |  | Day 4 | Enlist measuring tools |  |
|  |  |  | State Laser Distance Measurer |  |
|  |  |  | Define caliper |  |
|  |  |  | Enlist type of caliper |  |
|  |  | Day 5 | Differentiate between Protractor and Digital Angle Gauge. |  |
|  |  |  | Define micrometer |  |
|  |  |  | Enlist type of micrometer |  |
|  |  |  | Discuss Method of calculating labour costs |  |
| Week 7 | Estimate Civil Work for a project | Day 1 | Practice to calculating labour costs | - Task 7 Details may be seen at Annexure-I |
|  |  |  | Define marking tools |  |
|  |  |  | State Key Steps in Labor Cost Calculation |  |
|  |  |  | State the importance for labor cost |  |
|  |  | Day 2 | Define Overhead Costs |  |
|  |  |  | Differentiate between Labor Hours and labor cost |  |
|  |  |  | Differentiate between plan and elevation |  |
|  |  |  | Differentiate between Cross section and Long Section |  |
|  |  | Day 3 | State importance of working drawings |  |
|  |  |  | Define job specification |  |
|  |  |  | State Key Responsibilities and Duties |  |
|  |  |  | Enlist type of working drawings |  |
|  |  | Day 4 | State Components of a Job Specification |  |
|  |  |  | Discuss Reporting Structure for a Civil Project |  |
|  |  |  | State Type of Civil Project |  |
|  |  |  | Differentiate between Skills and Competencies |  |
|  |  | Day 5 | State Key Responsibilities for skilled worker. |  |
|  |  |  | State importance of costing for Manpower |  |
|  |  |  | State overhead in estimate |  |
|  |  |  | Practice to Calculate Overheads in Construction |  |
| Week 8 | Perform Insulation Work for a Masonry Structure | Day 1 | State common types of insulation for masonry structures | - Task 8 Details may be seen at Annexure-I |
|  |  |  | Define Insulation Work for a Masonry Structure |  |
|  |  |  | Discuss importance of Insulation Work for a Masonry Structure |  |
|  |  |  | Perform measurement for a simple wall 9 inch thick |  |
|  |  | Day 2 | Assess a masonry wall before applying insulation |  |
|  |  |  | Define a vapor barrier during insulation |  |
|  |  |  | State importance for using a vapor barrier during insulation |  |
|  |  |  | State type of vapor barrier |  |
|  |  | Day 3 | State horizontal and vertical joints |  |
|  |  |  | Discuss importance of joints |  |
|  |  |  | State seal the joints between insulation boards |  |
|  |  |  | State importance of sealing. |  |
|  |  | Day 4 | Differentiate between external and internal insulation |  |
|  |  |  | State type of Insulation |  |
|  |  |  | Method to prevent moisture buildup when insulating masonry walls |  |
|  |  |  | Precautions for installing insulation in masonry structures |  |
|  |  | Day 5 | Precautions for installing insulation in tile work |  |
|  |  |  | Precautions for installing insulation in P.C.C structures |  |
|  |  |  | Precautions for installing insulation in R.C.C. structures |  |
|  |  |  | Precautions for installing insulation in FLOORING |  |
| Week 9 | Perform Insulation Work for a Masonry Structure | Day 1 | State Site Preparation | - Task 9 Details may be seen at Annexure-I |
|  |  |  | Method to site preparation |  |
|  |  |  | Precautions to prepare site preparation |  |
|  |  |  | Stages of site preparation |  |
|  |  | Day 2 | Define vapor barrier |  |
|  |  |  | Type of vapor barrier |  |
|  |  |  | Safety precautions to apply vapor barrier |  |
|  |  |  | Steps involved to apply vapor barrier |  |
|  |  | Day 3 | Define water proofing materials |  |
|  |  |  | State type of water proofing materials |  |
|  |  |  | Steps involved to apply water proofing materials |  |
|  |  |  | State quality of water proofing materials |  |
|  |  | Day 4 | State Polyurethane Coatings |  |
|  |  |  | State Epoxy Resin-Based Coatings |  |
|  |  |  | State Polymer-Modified Mortar (PMM) |  |
|  |  |  | State Silicone-Based Waterproofing |  |
|  |  | Day 5 | Explain TPO (Thermoplastic Olefin) Membranes |  |
|  |  |  | State EPDM (Ethylene Propylene Diene Monomer) Membranes |  |
|  |  |  | State advantages of TPO |  |
|  |  |  | State method to apply TPO |  |
| Week 10 | Perform Insulation Work for a Masonry Structure | Day 1 | State Waterproofing Membrane Sheets | - Task 10 Details may be seen at Annexure-I |
|  |  |  | State Sodium Bentonite Waterproofing |  |
|  |  |  | State Geotextiles and Geomembranes |  |
|  |  |  | State selection of Waterproofing Materials |  |
|  |  | Day 2 | Precautions to apply water proofing materials |  |
|  |  |  | State step in the roof insulation process |  |
|  |  |  | Discuss preparation the roof surface before installing insulation |  |
|  |  |  | State types of insulation materials are commonly used for roofs. |  |
|  |  | Day 3 | State barrier play in roof insulation. |  |
|  |  |  | State role of vapor. |  |
|  |  |  | State method to apply spray foam insulation to a roof. |  |
|  |  |  | State safety precautions to apply spray foam insulation to a roof. |  |
|  |  | Day 4 | State time for installing roof insulation |  |
|  |  |  | Define ventilation |  |
|  |  |  | State method to ensure proper ventilation. |  |
|  |  |  | State purpose of using a reflective or radiant barrier on a roof. |  |
|  |  | Day 5 | State safety precautions when installing roof insulation. |  |
|  |  |  | State time when installing roof insulation. |  |
|  |  |  | Explain check for gaps in the insulation installation |  |
|  |  |  | State defects in the insulation installation |  |
| Week 11 | Perform Insulation Work for a Masonry Structure | Day 1 | State main types of wall insulation materials | - Task 11 Details may be seen at Annexure-I |
|  |  |  | State precautions to apply wall insulation materials |  |
|  |  |  | State time to apply of wall insulation materials |  |
|  |  |  | State factors to determine the thickness of wall insulation materials. |  |
|  |  | Day 2 | State method to prepare a wall installing insulation |  |
|  |  |  | State precautions prepare a wall installing insulation |  |
|  |  |  | State method to install rigid foam insulation on a wall |  |
|  |  |  | State role of a vapor barrier in wall insulation |  |
|  |  | Day 3 | State methods used to seal gaps between insulation materials on walls |  |
|  |  |  | Differentiate between insulate exterior walls versus interior walls |  |
|  |  |  | Explain purpose of using spray foam insulation for walls. |  |
|  |  |  | Explain safety precautions to using spray foam insulation for walls. |  |
|  |  | Day 4 | State method to handle electrical outlets and fixtures when insulating walls |  |
|  |  |  | State precautions to be taken when installing wall insulation in wet areas |  |
|  |  |  | State precautions to be taken when installing wall insulation in rainy season |  |
|  |  |  | State different types of insulation materials used for walls |  |
|  |  | Day 5 | Differentiate between seal gaps and joints between insulation panels to prevent air leak |  |
|  |  |  | Discuss process of insulating exterior vs. interior walls |  |
|  |  |  | Method to check the effectiveness of the wall insulation after installation. |  |
|  |  |  | Method to handle electrical outlets, switches, and plumbing when insulating walls |  |
| Week 12 | Perform Advance Brick Masonry Work for a Given Building Project | Day 1 | Define advanced masonry work | - Task 12 Details may be seen at Annexure-I |
|  |  |  | State types of bricks are commonly used for advanced masonry work |  |
|  |  |  | Differentiate between tile and bricks. |  |
|  |  |  | Differentiate between Simple Masonry work and advanced masonry work |  |
|  |  | Day 2 | State preparation the site for advanced brick masonry work |  |
|  |  |  | State importance of mortar mix in advanced brick masonry |  |
|  |  |  | Define mortar mix |  |
|  |  |  | State method to prepare mortar mix in advanced brick masonry |  |
|  |  | Day 3 | Define alignment and level during bricklaying |  |
|  |  |  | Define bricklaying |  |
|  |  |  | Differentiate between alignment and level during bricklaying |  |
|  |  |  | Discuss ensure proper alignment and level during bricklaying |  |
|  |  | Day 4 | State handle brick corners in advanced masonry |  |
|  |  |  | Discuss handle brick on junctions in advanced masonry |  |
|  |  |  | State method to sharp the brick edges in advanced masonry |  |
|  |  |  | State method to lay bricks at straight line in advanced masonry |  |
|  |  | Day 5 | Define cracks in brick masonry |  |
|  |  |  | State to prevent cracks in brick masonry during construction |  |
|  |  |  | State disadvantages of cracks in brick masonry |  |
|  |  |  | Enlist tools for advanced brick masonry work |  |

| Week 13 | Perform Advance Brick Masonry Work for a Given Building Project | Day 1 | State importance for tools | - Task 13 Details may be seen at Annexure-I |
| --- | --- | --- | --- | --- |
|  |  |  | State type of tools for masonry work |  |
|  |  |  | Define curing |  |
|  |  |  | State importance of curing |  |
|  |  | Day 2 | State method of curing |  |
|  |  |  | Define brick course |  |
|  |  |  | Define ratio |  |
|  |  |  | Define water cement ratio. |  |
|  |  | Day 3 | State finish brick surfaces for aesthetic appeal. |  |
|  |  |  | Discuss safety measures during brick masonry work |  |
|  |  |  | Define aesthetic |  |
|  |  |  | State curvature in a circular wall. |  |
|  |  | Day 4 | State method for constructing a circular masonry wall |  |
|  |  |  | State prevention for constructing a circular masonry wall |  |
|  |  |  | State commonly used for building circular masonry walls |  |
|  |  |  | State importance for building circular masonry walls |  |
|  |  | Day 5 | Define radius a circular masonry wall |  |
|  |  |  | calculate the radius for a circular masonry wall |  |
|  |  |  | Calculate the radius and dimensions for a circular masonry wall |  |
|  |  |  | State importance the radius for a circular masonry wall |  |

| Week 14 | Perform Advance Brick Masonry Work for a Given Building Project | Day 1 | Define arch | - Task 14 Details may be seen at Annexure-I |
| --- | --- | --- | --- | --- |
|  |  |  | State importance of arch |  |
|  |  |  | Differentiate between arch and lintel |  |
|  |  |  | State brick masonry arch |  |
|  |  | Day 2 | State curing of arch |  |
|  |  |  | Enlist parts of an arch |  |
|  |  |  | State method to prepare arch. |  |
|  |  |  | Define center of an arch |  |
|  |  | Day 3 | State role of the abutments in supporting a brick masonry arch |  |
|  |  |  | Define crown of an arch |  |
|  |  |  | State method to determine the center of an arch. |  |
|  |  |  | State challenges faced during the construction of a brick masonry arch |  |
|  |  | Day 4 | Enlist type of an arch. |  |
|  |  |  | State process of removing the centering once the arch is constructed. |  |
|  |  |  | State process of fixing shuttering for the arch. |  |
|  |  |  | State method to fix shuttering for an arch. |  |
|  |  | Day 5 | Define segmental arch. |  |
|  |  |  | Define abutments. |  |
|  |  |  | State key for an arch. |  |
|  |  |  | State importance of key for an arch. |  |

| Week 15 | Perform Advance Brick Masonry Work for a Given Building Project | Day 1 | Define cavity wall. | - Task 15 Details may be seen at Annexure-I |
| --- | --- | --- | --- | --- |
|  |  |  | State importance of cavity walls. |  |
|  |  |  | Explain uses of cavity walls. |  |
|  |  |  | Differentiate between cavity wall and simple wall. |  |
|  |  | Day 2 | State components of a cavity wall. |  |
|  |  |  | State procedure to construct of cavity wall. |  |
|  |  |  | State purpose of the cavity wall. |  |
|  |  |  | State materials are commonly used for the inner and outer leaves of a cavity wall. |  |
|  |  | Day 3 | State method to prevent water from penetrating through the cavity wall. |  |
|  |  |  | State seepage control through the cavity wall. |  |
|  |  |  | Explain role play insulation in cavity wall construction |  |
|  |  |  | State installation of damp-proof course (DPC) in a cavity wall. |  |
|  |  | Day 4 | State junction between cavity walls. |  |
|  |  |  | State process for handling the junction between cavity walls |  |
|  |  |  | State proper ventilation in the cavity of a wall |  |
|  |  |  | Discuss ventilation method through the cavity wall. |  |
|  |  | Day 5 | State problems faced during cavity wall construction |  |
|  |  |  | State thermal insulation through cavity wall construction |  |
|  |  |  | State finishes the exterior cavity wall surface. |  |
|  |  |  | State importance of cavity wall. |  |

| Week 16 | Perform Advance Brick Masonry Work for a Given Building Project | Day 1 | Define dome. | - Task 16 Details may be seen at Annexure-I |
| --- | --- | --- | --- | --- |
|  |  |  | State constructing a brick dome. |  |
|  |  |  | State constructing a brick dome. |  |
|  |  |  | Enlist type of dome. |  |
|  |  | Day 2 | Define Dia of dome |  |
|  |  |  | State center of dome. |  |
|  |  |  | State method to determine the dimensions of a brick dome |  |
|  |  |  | State disadvantages of a brick dome |  |
|  |  | Day 3 | Enlist materials are typically used for building a brick dome. |  |
|  |  |  | Enlist type of dome graphically. |  |
|  |  |  | Enlist type dome aesthetically. |  |
|  |  |  | Enlist type of dome according to their center. |  |
|  |  | Day 4 | State importance of centering (formwork) in brick dome construction. |  |
|  |  |  | State curvature of a brick dome. |  |
|  |  |  | State role of the keystone in a brick dome. |  |
|  |  |  | State method to load distributed in a brick dome structure. |  |
|  |  | Day 5 | State stability during dome construction. |  |
|  |  |  | State common techniques for bonding bricks in a dome construction. |  |
|  |  |  | Explain process of removing centering once the brick dome is complete. |  |
|  |  |  | State role of mortar mix in brick dome construction. |  |

| Week 17 | Install Pre-Fabricated Components on Brick Masonry Structure | Day 1 | Define pre-fabrication. | - Task 17 Details may be seen at Annexure-I |
| --- | --- | --- | --- | --- |
|  |  |  | Enlist pre-fabricated components. |  |
|  |  |  | Enlist pre-fabricated components are commonly installed on brick masonry structures. |  |
|  |  |  | Enlist pre-fabricated components are commonly installed on concrete masonry structures. |  |
|  |  | Day 2 | Enlist equipment are required for installing pre-fabricated components |  |
|  |  |  | State method to prepare the brick masonry surface before installing pre-fabricated components |  |
|  |  |  | State method to proper alignment and positioning of pre-fabricated components |  |
|  |  |  | State role of anchors when installing pre-fabricated components |  |
|  |  | Day 3 | State role of fasteners when installing pre-fabricated components |  |
|  |  |  | State method to handle the joints between pre-fabricated components and brick masonry |  |
|  |  |  | State method to manage the load distribution when installing heavy pre-fabricated components |  |
|  |  |  | State proper sealing and insulation around pre-fabricated components |  |
|  |  | Day 4 | State safety precautions during installing pre-fabricated components on brick masonry structures |  |
|  |  |  | State addresses any potential gaps during installation fabricated components. |  |
|  |  |  | State waterproofing around installed pre-fabricated components. |  |
|  |  |  | State pre-fabricated components meet structural and aesthetic requirements |  |
|  |  | Day 5 | Define doors. |  |
|  |  |  | Differentiate between doors and windows. |  |
|  |  |  | State materials are required for fitting a door frame |  |
|  |  |  | State Tools are required for fitting a door frame |  |

| Week 18 | Install Pre-Fabricated Components on Brick Masonry Structure | Day 1 | Define window grill | - Task 18 Details may be seen at Annexure-I |
| --- | --- | --- | --- | --- |
|  |  |  | Enlist steps in fitting a window grill |  |
|  |  |  | Differentiate between window opening and window frame |  |
|  |  |  | Define vertical and horizontal alignment of frame fittings |  |
|  |  | Day 2 | Define clamp |  |
|  |  |  | State procedure to clamp fitting |  |
|  |  |  | State tools used to drill holes into the window frame. |  |
|  |  |  | State necessary to mark the drilling spots on the window frame. |  |
|  |  | Day 3 | State purpose of using a level during installation of door frame. |  |
|  |  |  | State important to clean the window frame before installation. |  |
|  |  |  | test if the window grill is securely installed |  |
|  |  |  | State safety gear is recommended during installation of frame. |  |
|  |  | Day 4 | Enlist materials of frame. |  |
|  |  |  | State purpose of using a level during installation |  |
|  |  |  | State screws for fitting a window grill |  |
|  |  |  | State benefit of using wall anchors during installation |  |
|  |  | Day 5 | State types of frames according to style. |  |
|  |  |  | Enlist type of frame according to design |  |
|  |  |  | State last step after fitting a window/door grill. |  |
|  |  |  | State uses to mark drilling spots on the frame. |  |

| Week 19 | Install Pre-Fabricated Components on Brick Masonry Structure | Day 1 | Define Pre-cast lintel | - Task 19 Details may be seen at Annexure-I |
| --- | --- | --- | --- | --- |
|  |  |  | Define supports |  |
|  |  |  | Define sunshade |  |
|  |  |  | Differentiate between lintel and beams |  |
|  |  | Day 2 | Define Support braces |  |
|  |  |  | State materials for lintels |  |
|  |  |  | State bearings |  |
|  |  |  | Define Pre-Cast Lintel |  |
|  |  | Day 3 | State Safety Considerations for lintels |  |
|  |  |  | Discuss method to prepare lintel |  |
|  |  |  | State different materials used to for pre-cast lintels. |  |
|  |  |  | State tools used to lift the pre-cast lintel into position. |  |
|  |  | Day 4 | State method to check lintel level during installation. |  |
|  |  |  | State first step in installing a pre-cast lintel with sunshade. |  |
|  |  |  | State Method in which sunshade is to be attached to the lintel. |  |
|  |  |  | Define crane hoist. |  |
|  |  | Day 5 | State purpose of using a crane or hoist during installation of lintel. |  |
|  |  |  | State disadvantages of Lintels. |  |
|  |  |  | Method to ensure the sunshade is properly aligned. |  |
|  |  |  | State alignment of dlintels. |  |

| Week 20 | Perform Pointing of Brick Masonry Wall | Day 1 | Define Pointing. | - Task 20 Details may be seen at Annexure-I |
| --- | --- | --- | --- | --- |
|  |  |  | Define brick masonry. |  |
|  |  |  | Enlist type of pointing. |  |
|  |  |  | Enlist tools of pointing. |  |
|  |  | Day 2 | Enlist materials for pointing. |  |
|  |  |  | State purpose of pointing in brick masonry. |  |
|  |  |  | State ideal consistency of the mortar for pointing. |  |
|  |  |  | State benefit of dampening the wall before pointing |  |
|  |  | Day 3 | State method to remove excess mortar on pointing surface. |  |
|  |  |  | State important to work quickly when pointing. |  |
|  |  |  | State method to finish the pointed joints for a smooth appearance. |  |
|  |  |  | Define aesthetic surface. |  |
|  |  | Day 4 | Method to Repair any imperfection surface with pointing trowel. |  |
|  |  |  | Define Groove |  |
|  |  |  | Define tuck groove. |  |
|  |  |  | State mortar mix is typically used for pointing on brick masonry. |  |
|  |  | Day 5 | State purpose of using a wire brush during surface preparation for pointing. |  |
|  |  |  | State effect of weather conditions on mortar setting. |  |
|  |  |  | State temperature for pointing work. |  |
|  |  |  | State method to ensure the joints are filled completely with mortar. |  |

| Week 21 | Perform Flooring of Given Building Project | Day 1 | Define flooring | - Task 21 Details may be seen at Annexure-I |
| --- | --- | --- | --- | --- |
|  |  |  | State materials for conglomerate flooring |  |
|  |  |  | State materials for terrazzo flooring |  |
|  |  |  | State materials for tiles flooring |  |
|  |  | Day 2 | Define base course |  |
|  |  |  | Define finishing course |  |
|  |  |  | Define sub base course |  |
|  |  |  | State method to compaction of soil |  |
|  |  | Day 3 | Enlist tools for flooring |  |
|  |  |  | State cement concrete flooring. |  |
|  |  |  | State method to Mark level lines on wall for levelling. |  |
|  |  |  | State spacers used during tile installation. |  |
|  |  | Day 4 | State role of grouting in tiled flooring. |  |
|  |  |  | State precautions follow during flooring installation |  |
|  |  |  | Enlist types of flooring |  |
|  |  |  | State measure the area for tiling accurately. |  |
|  |  | Day 5 | State purpose of applying a primer to the subfloor |  |
|  |  |  | State purpose of a tile leveling system for flooring |  |
|  |  |  | Enlist key steps for mixing and applying grouting. |  |
|  |  |  | State method to clean excess grout from tile surfaces. |  |

| Week 22 | Perform Roofing of Given Building Project | Day 1 | Define roofing. | - Task 22 Details may be seen at Annexure-I |
| --- | --- | --- | --- | --- |
|  |  |  | Enlist common types of roofing materials. |  |
|  |  |  | Enlist common types of roofs. |  |
|  |  |  | Define shuttering |  |
|  |  | Day 2 | State method of oiling for shuttering. |  |
|  |  |  | calculate the roof area for material estimation. |  |
|  |  |  | State precautions taken during roofing installation. |  |
|  |  |  | Define curing. |  |
|  |  | Day 3 | State roofing material is weather-resistant. |  |
|  |  |  | State Cut and fix T-irons in girders roof. |  |
|  |  |  | State method to Place tiles as per plan at tiles roof. |  |
|  |  |  | Enlist advantages of a pitched tile roof |  |
|  |  | Day 4 | Method to determine the pitch angle of a roof |  |
|  |  |  | State role of battens and rafters in a pitched tile roof |  |
|  |  |  | State proper ventilation in a pitched tile roof design. |  |
|  |  |  | Enlist types of tiles used for pitched roofs. |  |
|  |  | Day 5 | State method to install battens for a pitched tile roof. |  |
|  |  |  | State role of flashing in a pitched tile roof. |  |
|  |  |  | State common causes of tile displacement. |  |
|  |  |  | State safety precautions followed during construction of roof. |  |

| Week 23 | Perform Reinforced Cement Concrete (RCC) Work for a Given Building Project | Day 1 | Define R.C.C. | - Task 23 Details may be seen at Annexure-I |
| --- | --- | --- | --- | --- |
|  |  |  | Define formwork |  |
|  |  |  | Differentiate between shuttering and formwork. |  |
|  |  |  | Define batching of materials |  |
|  |  | Day 2 | Enlist components of R.C.C. |  |
|  |  |  | Enlist tools for concreting. |  |
|  |  |  | State role of reinforcement in RCC |  |
|  |  |  | State transportation of concrete. |  |
|  |  | Day 3 | State batching of concrete. |  |
|  |  |  | Enlist steps involved before concreting. |  |
|  |  |  | State method of leveling before pouring concrete. |  |
|  |  |  | State importance to clean and oil the formwork before use. |  |
|  |  | Day 4 | State standard sizes of steel reinforcement bars used in RCC |  |
|  |  |  | State workability of concrete tested on-site. |  |
|  |  |  | Define compacting of concrete. |  |
|  |  |  | Define curing of concrete. |  |
|  |  | Day 5 | Enlist method of curing for concrete. |  |
|  |  |  | Define water cement ratio. |  |
|  |  |  | State method of compaction for concrete. |  |
|  |  |  | State tools used for compacting of concrete |  |

| Week 24 | Perform Reinforced Cement Concrete (RCC) Work for a Given Building Project | Day 1 | State safety measures followed during RCC work. | - Task 24 Details may be seen at Annexure-I |
| --- | --- | --- | --- | --- |
|  |  |  | State check for stability of formwork during RCC construction. |  |
|  |  |  | Define fabrication of steel bars. |  |
|  |  |  | Define joints in concrete. |  |
|  |  | Day 2 | Enlist type of concrete joints. |  |
|  |  |  | difference between contraction joints and construction joints? |  |
|  |  |  | isolation joints used in concrete? |  |
|  |  |  | purpose of saw-cut joints in concrete slabs |  |
|  |  | Day 3 | determine the spacing for contraction joints in a concrete slab |  |
|  |  |  | materials are commonly used to fill expansion joints |  |
|  |  |  | prevent debris from entering freshly cut joints? |  |
|  |  |  | improper joint designs lead to cracking |  |
|  |  | Day 4 | Define sealing of joints. |  |
|  |  |  | Enlist most common sealant for concrete joints. |  |
|  |  |  | Define binding wire |  |
|  |  |  | Enlist materials for formwork. |  |
|  |  | Day 5 | State isolation of joints |  |
|  |  |  | Differentiate between in pre-cast and cast-in-situ concrete. |  |
|  |  |  | State common causes of joint sealant failure |  |
|  |  |  | State maintenance for concrete joints. |  |

Tasks for Certificate in Mason (Builder) 			Annexure-II:

| Task No. | Task | Description | Week |
| --- | --- | --- | --- |
|  | Tools | Identify different mason tools and store them after cleaning. | Week 1 |
|  | Hazards | Indicate different hazards on a construction site. | Week 2 |
|  | Communication | Communication at site with Tools Practice and Supervisor | Week 3 |
|  | PPEs | Practice to Use of PPEs at site | Week 4 |
|  | Drawings | Draw a house plan 5-Marla show water supply and sewerage lines. | Week 5 |
|  | Estimate | Estimate material required for brick soling 500 sq.m | Week 6 |
|  | Estimate | Calculate the quantity and cost of materials required for brick work, PCC work, RCC work, for 200 cu.m | Week 7 |
|  | Brickwork | Practice for 9-inch-thick wall masonry 6 ft length, 3 ft high | Week 8 |
|  | Waterproofing | Apply vapor materials on 100 sq.ft area | Week 9 |
|  | Waterproofing | Apply Bentonite Waterproofing on 100 sq.ft area | Week10 |
|  | Insulating | Apply wall insulation materials on 100 sq.ft area | Week11 |
|  | Mixing | Prepare mortar mix Ratio 1:4 | Week12 |
|  | Brickwork | Prepare simple 9 inch thick wall (1:4) 10 ft length and 3 ft high | Week13 |
|  | Brickwork | Prepare simple 9 inch thick circular Arch (1:4) with 3 ft in diameter | Week14 |
|  | Brickwork | Prepare simple 13-1/2 inch thick cavity wall with (1:4) cement sand mortar 6 ft length and 3 ft high. | Week15 |
|  | Dome | Construct 3 ft dia dome with brick masonry. | Week16 |
|  | Brickwork | Prepare water waterproofing around installed pre-fabricated components. | Week17 |
|  | Frame Fixing | Perform fixing of window frame in 9-inch-thick wall and test if the window grill is securely installed. | Week18 |
|  | Frame Fixing | Perform fixing of Door frame in 9-inch-thick wall and test if the window grill is securely installed. | Week19 |
|  | Flooring | Practice to Tile and concrete flooring | Week20 |
|  | Roofing | Practice to RCC Roofing and pitched roof | Week21 |
|  | Concrete work | Pouring of concrete in column at site. | Week22 |
|  | Concrete work | Perform Pouring of concrete in beam at site. | Week23 |
|  | Concrete work | Practice for filling the concrete joints | Week24 |

COMPLETE LIST OF TOOLS AND EQUIPMENT

| SR# | Tools & Equipment | Quantity |
| --- | --- | --- |
|  | Bucket (12L -15L) | 13 |
|  | Mixing board(18”x12”) | 13 |
|  | Shovel | 13 |
|  | Steel trowel(large, medium and small) | 25 each size |
|  | Measuring steel tape(5meter) | 10 |
|  | Straight edge aluminum (3”x1 ½ “) 4ft and 8ft | 10 each |
|  | Wooden float(18”,12’’,8”) | 25 set |
|  | Steel tape(30 meter) | 5 |
|  | Steel float (10”) | 10 |
|  | Mason hammer | 13 |
|  | Plumb bob | 13 |
|  | Scaffolding set (Batten2.5”x3”x 5’)+(Bamboo 12’) + (wooden plank 2”x12”x6’) | 5 |
|  | Marking gauge | 13 |
|  | Handsaw | 13 |
|  | Bar cutter | 5 |
|  | Bar bender | 5 |
|  | Steel square | 13 |
|  | Cold chisel | 13 |
|  | Hacksaw | 13 |
|  | Level hose(Hose length 50ft) | 13 |
|  | Straight edge | 13 |
|  | Spirit level | 13 |
|  | Claw hammer | 13 |
|  | Chalk line | 13 |
|  | Steel measuring box(0.5 cft,1 cft and 1.25cft) | 5 Each |
|  | Hand Hack saw frame | 5 |
|  | Hack saw blade (12”) | 50 |
|  | Tri-square(12”) | 13 |
|  | Tri-square(24”x18”) | 5 |
|  | Wheel barrow | 5 |
|  | Steel brush | 50 |
|  | Steel nails (1 ½”,2”,3”,4”) | Each size 5kg |
|  | Claw bar(4’x1”dia) | 5 |
|  | Sledge hammer | 5 |
|  | Rope ½ “ dia.(roll of 50ft) | 25 |
|  | Pulley(9” dia anchorage arrangement + jute rope 1/2” dia ) | 5 |
|  | Electric hand Drill Machine | 5 |
|  | Drill bit set each (1/8”, ¼”, 3/8”, ½”, ¾” ) | 5 |
|  | Plie (kassi) | 13 |
|  | Spade | 13 |
|  | Spackle Knife | 13 |
|  | Utility Knife | 13 |
|  | Plate Compactor | 2 |
|  | Rammer 5kg | 13 |
|  | Tamping Rod ¾” dia | 13 |
|  | Pedestal Drill Machine | 2 |
|  | Needle Vibrator(Shaft length 6’,needle size 1 ½ “x24”) | 2 |
|  | Chisel Set ( 18”, 12”, 9”) | 13 |
|  | Jack hammer | 2 |
|  | Laboratory concrete Mixer Machine (Motorized) | 2 |
|  | Mixing tray of GI sheet 3’x3’x3” | 25 |
|  | Mortar Pan | 25 |
|  | Stone / marble cutter machine | 5 |
|  | Tile cutter | 5 |
|  | Brick cutter machine | 5 |
|  | Diamond pointed pencil | 5 |
|  | Grinding Machine | 13 |
|  | Pointing Trowel | 25 |
|  | Grooving Tool | 25 |
|  | Pointing Tray | 25 |
|  | Point Tool | 25 |
|  | Batten (L 6’ and thickness 2 ½’’ and 3’’ ) | 25 |
|  | Wooden plank (L 6’, w 6’’, thickness 2’’) | 25 |
|  | Mild Steel pipe(L 10’,dia 2’’) | 25 |
|  | Mild Steel pipe(L 5’,dia 2’’) | 25 |
|  | Scaffolding joint( dia 2’’) | 100 |
|  | MS plate (3’x1’)welded over (1 ½”x1 ½”) angle iron frame | 50 |
|  | Plastic Drum ( 30 to 50 gallon) | 2 |
|  | Broom | 25 |
|  | Water hose and nozzle | 10 |
|  | Sponge | 50 |
|  | Scoop(12’’) | 10 |
|  | Paint Brush (4 inches) | 25 |
|  | Ladder (14 ft) | 5 |
|  | Steel Crib ( 4 ft) | 10 |
|  | Sieve( 3’x3’) -16 N0 | 8 |
|  | Lamination sheet ( 8’x4’x3/4”) | 10 |
|  | Pincer (8”) | 10 |
|  | Hand grinder machine | 5 |
|  | PPEs (Safety Goggles, Safety Gloves, Ear Plugs, Anti-Static Gloves, Safety Helmet, Safety Shoes, Apron, Mask, Respirator, Safety Belts) | 25 SET |
|  | First Aid Box | 5 |
|  | Fire extinguisher | 5 |

# Annexure-II:

# Motivational Lectures

# Mason (Builder)

# Annexure-IV:

# Workplace/Institute Ethics Guide

Work ethic is a standard of conduct and values for job performance. The modern definition of what constitutes good work ethics often varies.  Different businesses have different expectations. Work ethic is a belief that hard work and diligence have a moral benefit and an inherent ability, virtue, or value to strengthen character and individual abilities. It is a set of values-centered on the importance of work and manifested by determination or desire to work hard.

The following ten work ethics are defined as essential for student success:

- Attendance: 
Be at work every day possible, plan your absences don’t abuse leave time. Be punctual every day.

- Character: 
Honesty is the single most important factor having a direct bearing on the final success of an individual, corporation, or product. Complete assigned tasks correctly and promptly. Look to improve your skills.

- Team Work:

The ability to get along with others including those you don’t necessarily like. The ability to carry your weight and help others who are struggling. Recognize when to speak up with an idea and when to compromise by blend ideas together.

- Appearance:
Dress for success set your best foot forward, personal hygiene, good manner, remember that the first impression of who you are can last a lifetime

- Attitude: 
Listen to suggestions and be positive, accept responsibility. If you make a mistake, admit it. Values workplace safety rules and precautions for personal and co-worker safety. Avoids unnecessary risks. Willing to learn new processes, systems, and procedures in light of changing responsibilities.

- Productivity: 
Do the work correctly, quality and timelines are prized. Get along with fellows, cooperation is the key to productivity. Help out whenever asked, do extra without being asked. Take pride in your work, do things the best you know-how. Eagerly focuses energy on accomplishing tasks, also referred to as demonstrating ownership. Takes pride in work.

- Organizational Skills:

Make an effort to improve, learn ways to better yourself. Time management; utilize time and resources to get the most out of both. Take an appropriate approach to social interactions at work. Maintains focus on work responsibilities.

- Communication: 
Written communication, being able to correctly write reports and memos.
Verbal communications, being able to communicate one on one or to a group.

- Cooperation: 
Follow institute rules and regulations, learn and follow expectations. Get along with fellows, cooperation is the key to productivity. Able to welcome and adapt to changing work situations and the application of new or different skills.

- Respect: 
Work hard, work to the best of your ability. Carry out orders, do what’s asked the first time. Show respect, accept, and acknowledge an individual’s talents and knowledge. Respects diversity in the workplace, including showing due respect for different perspectives, opinions, and suggestions.