Government of Pakistan

National Vocational and Technical Training Commission

(NAVTTC)

"Prime Minister Youth Skill Development Program"

Course Contents / Lesson Plan

Course Title: Renewable Energy System Design (Wind)

Duration: 6 Months

| Author Name | Engr. Dr. Waqas Abdul Salaam |
| --- | --- |
| Course Title | Renewable Energy System Design (Wind) |
| Training Objective & Learning Outcomes | Employable Skills and Hand on Practice for Renewable Energy System Design (Wind) The training objectives of the 6-month Renewable Energy System Design (wind) course under the PMYP program focus on equipping trainees with foundational and advanced knowledge and skills in wind energy technologies. The course aims to build a comprehensive understanding of wind power system components including Wind Turbine, generators and converter, design parameters, maintenance and troubleshooting. Trainees will learn to perform load assessments, select appropriate system, mechanical and electrical testing of Wind Turbine, generators, converter and wind pattern simulations. This hands-on training approach ensures that participants gain practical experience for wage or self-employment in the renewable energy sector. Furthermore, the course emphasizes sustainable energy development principles, energy efficiency management, and the economic aspects of solar power systems, including tariff calculations and cost analysis. Trainees will be trained to analyze environmental impacts, optimize wind energy system performance under varying conditions. The program also incorporates health and safety practices, industry-specific case study titled: Energy Analysis of Wind Power Plant by FFC, Pakistan and field visits, preparing participants for real-world challenges and market demands in renewable energy system design and implementation. Learning Outcomes By the end of this course, students will be able to perform the following Competency Standards: - Understand the concept of sustainable energy development and various renewable energy technologies, especially wind energy systems. - Demonstrate knowledge of wind power system components including Wind Turbine, generators and converter. - Perform load assessments and design wind power system suited to different site conditions. - Develop skills for installation, testing, commissioning, troubleshooting, and maintenance of wind energy systems. - Use wind design software tools for accurate system sizing, performance simulation, and optimization. - Calculate power tariffs, energy costs, and perform economic feasibility analysis for wind projects. - Apply safety standards, quality assurance, and industry best practices during wind system implementation - Conduct environmental impact assessment and promote energy conservation and management principles - Gain hands-on experience through practical tasks, case study titled: Energy Analysis of Wind Power Plant by FFC, Pakistan, and field visits to prepare for market roles in renewable energy. |
| Entry-level of trainees | Minimum Intermediate preferably DAE Electrical or Electronics |
| Minimum Qualification of Teachers | B.Sc. Engineering and 2 years of relevant work experience in wind power plant industry Or B-Tech and 3 years of relevant work experience in wind power plant industry Or Diploma Associate Engineer (DAE) and 5 years relevant work experience in wind power plant industry |
| Scheme of Studies | Renewable Energy System Design (Wind) Sr. No; Modules; Theory Hrs.; Practical Hrs.; Total Hrs.. Demonstrate Basic Communication Skills; 4; 21; 25. Perform Basic Computer Operations; 4; 18; 22. Apply Wind Power Plant Safety Procedure; 6; 24; 30. Interpret Renewable Energy Resources; 7; 24; 31. Interpret Wind Power Generation; 6; 30; 36. Evaluate Basic Parameters in Wind Power Generation; 7; 27; 34. Interpret Technical Drawings; 7; 30; 37. Apply Environmental Protection Procedures; 5; 30; 35. Perform Operations of Wind Power Plant; 5; 27; 35. Perform Electrical Testing on Wind Power Plant; 6; 30; 36. Perform Inspection of Mechanical Systems; 6; 30; 36. Perform Preventive Maintenance of Mechanical Systems; 7; 30; 37. Perform Preventive Maintenance of Electrical Systems; 4; 30; 34. Perform Preventive Maintenance of Hydraulic Systems; 4; 30; 34. Perform Corrective Maintenance of Wind Power Plant; 6; 21; 27. Total; 84; 402; 486. |
| Course Execution Plan | Duration of the course: 6 months (24 Weeks) Theory: 20% Practical: 80% Weekly hours: 20 hours per week Total contact hours: 486 hours |
| Companies offering jobs in the respective trade | - Wind Industry - Wind troubleshooting & Maintenance - Wind Marketing |
| No of Students | 25 |
| Learning Place | Classroom / Lab |
| Instructional Resources | - PDF Books - Video Lectures - Online Free Tutorials |

DETAIL OF COURSE CONTENTS

| Schedule Week | Module Title | Learning Units | Task/Practical |
| --- | --- | --- | --- |
| Week 1 | Demonstrate Basic Communication Skills | Day 1 - Follow Workplace Instructions - Ask questions to extract relevant information. - Carry out instructions based on received information. - Introduction to 7C’s of communication | Task 1. Demonstrate 7 Cs of Communication Task 2. Demonstrate the process of Effective Communication |
|  |  | Day 2 - Follow Workplace Instructions - Provide feedback based on received written instructions - Compose workplace notes and memos. |  |
|  |  | Day 3 - Develop Effective Workplace Relationships - Perform duties to improve team cooperation - Verbal and Non-Verbal Communication |  |
|  |  | Day 4 - Develop Effective Workplace Relationships - Consult team members when challenges arise - Respect differences in personal values and beliefs |  |
|  |  | Day 5 - Communicate and work with Team Members - Identify individual roles and responsibility - Recognize team members responsibility with respect |  |
| Week 2 | Perform Basic Computer Operations | Day 1. - Perform Configuration of computer system - Connect computer input devices as per requirements. - Connect printer, scanner and camera as per requirements. | Task 3. Install Window on Operating System Task 4. Browse Internet on Google Chrome |
|  |  | Day 2. - Install sound and printer driver and applications according to the specification - Troubleshoot Applications to trace and fix faults if any |  |
|  |  | Day 3. - Download MS office from the internet - Download Scanner and printer driver from the internet - Download Internet Browser |  |
|  |  | Day 4. - Perform MS office Installation - Follow the Setup Wizard |  |
|  |  | Day 5. - Demonstrate Computer and Internet use cases - Operate MS Paint applications - Access and use Internet Browser - Apply online safety and ethical practices |  |
| Week 3 | Perform Basic Computer Operations | Day 1 - Perform Basic Documentation and Presentation skills using MS Office - Create and format documents using MS Word | Task 5. Make Presentation on Power Point Task 6. Make an Email Id on Yahoo Mail. |
|  |  | Day 2 - Perform Basic Documentation and Presentation skills using MS Office - Create and manage spreadsheets using MS Excel - Design and deliver presentations using MS PowerPoint |  |
|  |  | Day 3 - Manage Electronic Mail - Set up and configure email account on Gmail - Compose emails on Gmail account - Attach and Download files |  |
|  |  | Day 4 - Manage Electronic Mail - Receive and respond to emails - Print email |  |
|  |  | Day 5 - Apply Cybersecurity Best Practices - Identify common cyber threats and risks - Use strong, unique passwords for different accounts - Enable Multi-Factor Authentication (MFA) - Install and update antivirus or anti-malware software - Turn on firewalls and disable unused ports or services - Back up important data using secure storage |  |
| Week 4 | Apply Wind Power Plant Safety Procedures | Day 1. - Types of PPE - Head Protection - Eye Protection - Face Protection - Respiratory Protection - Body Protection - Foot Protection - Hearing Protection - Prepare for Safe Work Practices - Identification and Raising Alarms - Event Control and Evacuation - Communication - Incident Control Role - First Aid & Rescue - Follow safety instructions/ signs during work. | Task 7. Identify the tools used for safety Task 8. Identify emergency Procedure for |
|  |  | Day 2. - Identify following workplace hazards: - Fall from Height - Electrical Hazards - Mechanical Hazards - Fire and explosion hazards - Blade Hazards - Noise Exposure - Environmental Conditions - Chemical Exposures - Report hazards, incidents, and injuries using workplace procedures. - Obtain work permit in accordance with standard procedure. |  |
|  |  | Day 3. - Perform Safe Handling of Power Tools and Equipment - Inspect power tools and equipment for defects - Follow safety guidelines while using tools and equipment. |  |
|  |  | Day 4. - Clean and store tools and equipment after use - Report damaged tools and equipment to supervisor |  |
|  |  | Day 5. - Perform following basic first aid - Minor body cut - Bleeding - Eye Injury - Fever - Muscular Pain - Band Aid wrapping - 1st Degree Burn treatment |  |
| Week 5 | Apply Wind Power Plant Safety Procedures | Day 1. - Operate Fire Extinguisher - Interpret given 5 classes of fire extinguisher - Class A - Class B - Class C - Class D - Class K - Foam Extinguisher - Dry Chemical Extinguisher - Carbon dioxide Extinguisher - Dry Powder Extinguisher - Wet Chemical Extinguisher - Procedure for refilling fire extinguisher | Task 9. Operate Fire Extinguisher as per SOP Task 10. Perform Log out Tag out Procedure |
|  |  | Day 2. - Respond to emergencies |  |
|  |  | Day 3. - Perform Log Out Tag Out Procedure |  |
|  |  | Day 4. - Perform Wind Turbine Generator Climbing Procedure |  |
|  |  | Day 5. - Perform Wind Turbine Generator Rescuing Procedure |  |
| Week 6 | Interpret Renewable Energy Resources | Day 1. - Identify Renewable Energy Resources: - Solar PV System - Hydroelectric - Wind Power - Biomass | Task 11. Demonstrate Renewable Energy Resources Task 12. Differentiate between Renewable and Non-Renewable Energy Resources |
|  |  | Day 2. - Interpret Solar PV System |  |
|  |  | Day 3. - Interpret Hydroelectric Power System |  |
|  |  | Day 4. - Interpret Biomass Energy System |  |
|  |  | Day 5. - Interpret Wind Energy System |  |
| Week 7 | Interpret Wind Power Generation | Day 1. - Interpret electrical perimeter of wind energy: - Current - Voltage - Resistance - Energy - Power | Task 13. Demonstrate basic concepts of wind energy system Task 14. Demonstrate operation of Wind Turbine |
|  |  | Day 2. - Interpret following Wind Turbine Operation - Startup & Shutdown - Monitoring and Control - Mechanical Operations - Electrical Operations - Safety Operations - Routine Maintenance Operation |  |
|  |  | Day 3. - Interpret following Wind Turbine Components: - Rotor - Hub - Drive Train - Generator - Tower - Nacelle - Yaw System - Control System - Braking system - Foundation |  |
|  |  | Day 4. - Interpret Horizontal Axis Wind Turbines - Interpret Vertical Axis Wind Turbines |  |
|  |  | Day 5 - Interpret Wind Site Assessment |  |
| Week 8 | Evaluate Basic Parameters in Wind Power Generation | Day 1. - Calculate Wind Power | Task 15. Estimate Wind Power Task 16. Estimate efficiency of wind power system |
|  |  | Day 2. - Calculate Output power |  |
|  |  | Day 3. - Calculate efficiency of wind power system |  |
|  |  | Day 4. - Calculate Torque of wind power system |  |
|  |  | Day 5. - Calculate Torque of wind power system |  |
| Week 9 | Interpret Technical Drawings | Day 1. - Identify Drawing Symbols of Wind Power Plant - Identify standard drawing symbols. | Task 17. Perform Electrical labelling of the system Task 18. Draw Layout diagram of Wind turbine system |
|  |  | Day 2. - Identify Drawing Symbols of Wind Power Plant - Document identified symbols with proper labeling |  |
|  |  | Day 3. - Interpret Layout Diagram - Interpret Blade Pitch Control System |  |
|  |  | Day 4. - Interpret Layout Diagram of given Wind Turbine Components - Rotor - Hub - Drive Train - Generator - Tower - Yaw System - Braking system - Foundation - Verify layout diagrams against actual site placement. - Verify dimensions (Rotor diameter, Blade length, Swept area, Tower Height) and scaling on layout. |  |
|  |  | Day 5. - Interpret Mechanical Drawing |  |
| Week 10 | Interpret Technical Drawings | Day 1. - Interpret Electrical Drawing - Interpret standard electrical symbols. - Interpret single line diagrams and wiring schematics. | Task 19. Label Electrical symbols in drawing Task 20. Draw Single Line Diagram of generator and switchgear. |
|  |  | Day 2. - Interpret Electrical Drawings - Follow electrical power flow from generator to grid using technical drawings. - Verify ratings and specifications of electrical equipment. |  |
|  |  | Day 3. - Interpret Civil Drawings |  |
|  |  | Day 4. - Interpret Civil Drawings - Interpret structural reinforcement details. - Identify site layout and access routes. - Verify scale, levels, and dimensions |  |
|  |  | Day 5. - Interpret Hydraulic Drawings |  |
| Week 11 | Apply Environmental Protection Procedures | Day 1. - Identify Hazards at Workplace - Detect exposed or damaged electrical wiring in work area - Identify leakage of chemical substances in work area | Task 21. Prepare a format of Report of Hazard at Workplace Task 22 Demonstrate two type of hazards |
|  |  | Day 2. - Identify Hazards at Workplace - Inspect hazard warning labels for damage in workplace |  |
|  |  | Day 3. - Report identified hazards to concerned authority |  |
|  |  | Day 4. - Handle Hazardous Material Safely |  |
|  |  | Day 5. - Handle Hazardous Material Safely - Identify hazardous substances in workplace - Label container according to hazard class |  |
| Week 12 | Apply Environmental Protection Procedures | Day 1. - Dispose of Waste Material as per Green Practices - Identify hazardous waste material in workplace | Task 23. Demonstrate the process of Dispose of Waste Material Task 24. Demonstrate the process of awareness of dispose of waste |
|  |  | Day 2. - Dispose of Waste Material as per Green Practices - Inspect hazard warning labels for damage in workplace |  |
|  |  | Day 3. - Segregate waste material according to type. - Hazardous - Non-Hazardous - Place waste material in designated collection bins - Transfer segregated waste to disposal facilities - Maintain disposal record. |  |
|  |  | Day 4. - Apply Resource Conservation Practice |  |
|  |  | Day 5 - Record daily consumption of material in log sheet according to hazard class |  |
| Week 13 | ### Perform Operations of Wind Power Plant | Day 1. - Perform Operation of Wind Turbine on SCADA - Operate turbine as per instructions - Monitor following turbine parameters on dashboard: - Rotor speed - Wind speed - Generator speed - Power output - Blade pitch angle - Yaw position - Power curves - Ambient temperature - Generator position | Task 25. Measurement of electrical parameters like voltage, current and power during operation of wind turbine Task 26. Monitor the wind turbine parameter like Rotor speed, wind speed, generator speed, power output, Blade pitch angle, Yaw position., power curves, ambient temperature and Generator position on SCADA |
|  |  | Day 2. - Perform Operation of Wind Turbine on SCADA - Identify system alarms as per instructions - Respond to system alarms as per standard procedure. |  |
|  |  | Day 3. - Perform Operation of Electrical System on eBOP SCADA - Monitor rotor current, voltage and power on dashboard - Identify system alarms as per instructions |  |
|  |  | Day 4. - Perform Operation of Electrical System on eBOP SCADA - Maintain eBOP SCADA logs |  |
|  |  | Day 5. - Communicate with System Operator |  |
| Week 14 | ### Perform Operations of Wind Power Plant | Day 1. - Perform Internal Data Reporting | Task 27. Demonstrate the operation of SCADA Task 28. Prepare work permit for maintenance |
|  |  | Day 2. - Perform External Data Reporting |  |
|  |  | Day 3. - Prepare Work Permit for Maintenance |  |
|  |  | Day 4. - Monitor via HMI Panels of Relay |  |
|  |  | Day 5. - Maintain Record of Maintenance Activity |  |
| Week 15 | Perform Electrical Testing on Wind Power Plant | Day 1. - Perform measurement of current, voltage and resistance - Interpret voltage measurement - Select testing tools as per testing requirements. - Measure voltage values of generator output, transformer windings and switch gear. | Task 29. Perform Insulation Resistance Test Task 30. Measure resistance during Insulation Resistance Test |
|  |  | Day 2. - Interpret current measurement - Interpret resistance measurement - Interpret insulation measurement - Measure current value: - Generator output - Transformer windings - Switch gear. - Measure resistance value: - Generator winding - Transformer winding - Yaw motor winding. - Measure insulation values: - Generator stator & rotor winding - Transformer winding - Yaw motor winding. |  |
|  |  | Day 3. - Verify Insulation Resistance - Record Insulation resistance readings for all phases and earth connections. |  |
|  |  | Day 4. - Verify Insulation Resistance - Compare Obtained Readings with manufacturer’s Specifications. |  |
|  |  | Day 5. - Inspect Contact Resistance |  |
| Week 16 | Perform Electrical Testing on Wind Power Plant | Day 1. - Perform Phase Sequence Test - Connect Phase Sequence Tester Leads to three supply terminals. - Record phase sequence result. | Task 31 Perform Phase Sequence Test Task 32. Prepare Log sheet of Inspection of Protection System |
|  |  | Day 2. - Perform Phase Sequence Test - Interpret results to verify correct motor/generator rotation direction as per operational requirement. - Document Phase Sequence Test Results on log sheet. |  |
|  |  | Day 3. - Inspect Protection System |  |
|  |  | Day 4. - Conduct Functional Tests on Switchgear |  |
|  |  | Day 5. - Perform Continuity Test |  |
| Week 17 | Perform Inspection of Mechanical System | Day 1. - Check Alignment of Gear box | Task 33. Check Alignment of Gearbox Task 34. Prepare log sheet of Inspection of Mechanical System |
|  |  | Day 2. - Check Temperature of generator |  |
|  |  | Day 3. - Check Oil Level of generator |  |
|  |  | Day 4. - Inspect Pressure of Hydraulic systems |  |
|  |  | Day 5. - Perform Grease Sampling |  |
| Week 18 | Perform Inspection of Mechanical System | Day 1. - Inspect Vibration level | Task 35. Inspect the vibration level in the Mechanical System Task 36. Inspect General Physical condition of equipment |
|  |  | Day 2. - Inspect Noise Level |  |
|  |  | Day 3. - Inspect General Physical Condition of following equipment - Rotor & Blade - Gearbox - Generator - Yaw System - Shaft Assembly |  |
|  |  | Day 4. - Check dimension of following components: - Blade root bolt holes - Blade tips - Blade pitch bearing seats - Gear teeth of Gearbox - Starter rotor air gap of Generator - Pitch bearing of pitch system |  |
|  |  | Day 5. - Perform Oil Sampling |  |
| Week 19 | Perform Preventive Maintenance of Mechanical System | Day 1. - Maintain Gearbox - Perform physical inspection of gearbox | Task 37. Make preventive maintenance schedule Task 38. Inspect Gearbox system |
|  |  | Day 2. - Maintain Gearbox - Perform physical Inspection of elastomer bearing |  |
|  |  | Day 3. - Maintain Braking System - Inspect brake pads and calipers |  |
|  |  | Day 4. - Maintain Braking System - Record activity on maintenance checklist |  |
|  |  | Day 5. - Maintain Yaw System |  |
| Week 20 | Perform Preventive Maintenance of Mechanical System | Day 1. - Maintain Cooling System | Task 39. Inspect the lubrication system Task 40. Inspect Coupling System |
|  |  | Day 2. - Maintain Lubrication System |  |
|  |  | Day 3. - Maintain Pitch Systems |  |
|  |  | Day 4. - Maintain Coupling Systems |  |
|  |  | Day 5. - Perform Bolt Tightening |  |
| Week 21 | Perform Preventive Maintenance of Electrical Systems | Day 1. - Maintain Electronic Components - Relay - Switches | Task 41. Prepare a schedule of maintenance of Electric Circuit Task 42. Inspect AC/DC Motors |
|  |  | Day 2. - Maintain Control Circuit |  |
|  |  | Day 3. - Maintain Generator |  |
|  |  | Day 4. - Maintain AC Motor |  |
|  |  | Day 5. - Maintain DC Motor |  |
| Week 22 | Perform Preventive Maintenance of Electrical Systems | Day 1. - Maintain Sensors | Task 43. Inspect Transformer and prepare a report on the required maintenance work. Task 44. Inspect Switchgear and prepare a report on the required maintenance. |
|  |  | Day 2. - Maintain Power Circuit |  |
|  |  | Day 3. - Maintain Transformer |  |
|  |  | Day 4. - Maintain Switchgear |  |
|  |  | Day 5. - Maintain Frequency Converter |  |
| Week 23 | Perform Preventive Maintenance of Hydraulic Systems | Day 1. - Maintain Pumps | Task 45. Check Condition of Valves and Actuators Task 46. Prepare a schedule of maintenance of Hydraulic System |
|  |  | Day 2. - Maintain Valves and Actuators |  |
|  |  | Day 3. - Maintain Accumulators |  |
|  |  | Day 4. - Maintain Hydraulic Sensors |  |
|  |  | Day 5. - Check pipe Connections |  |
| Week 24 | Perform Corrective Maintenance of Wind Power Plant | Day 1. - Perform Replacement of Brake pad and Calipers | Task 47. Perform Replacement of Brake pad and Calipers Task 48. Perform Replacement of Motor |
|  |  | Day 2. - Perform Replacement of Low Voltage Circuit Breaker |  |
|  |  | Day 3. - Perform Replacement of Control Cables |  |
|  |  | Day 4. - Perform Rectification of Oil Leakage |  |
|  |  | Day 5. - Perform Replacement of Motor |  |

LIST OF MACHINERY / EQUIPMENT

For the Class of 25 Students (6-Month Course)

| SR. NO | NAME OF TOOL EQUIPMENT’S AND MACHINERY | QTY. REQUIRED |
| --- | --- | --- |
| 1 | AVO Meter | 05 |
| 2 | Combination Plier. | 10 |
| 3 | Nose plier. | 10 |
| 4 | Wire Stripper | 10 |
| 5 | Soldering Iron | 05 |
| 6 | Set of Screw Drivers | 10 |
| 7 | Ring Spanner Set | 02 |
| 8 | Tacho Meter-Digital | 05 |
| 9 | Earth resistance tester (Digital) Spike Type, Clamp Type) | 05 |
| 10 | Continuity & Insulation tester | 04 |
| 11 | IR Temperature Gun | 05 |
| 12 | Digital Multimeter | 05 |
| 13 | Cable Knife | 10 |
| 14 | Phase Sequence Meter | 02 |
| 15 | Clamp-On Meter (AC &DC) | 05 |
| 16 | Lux Meter | 02 |
| 17 | Lugs Punching Machine (Hydraulic and Manual) | 02 |
| 18 | Battery Tester | 02 |
| 19 | Micro Meter mm | 05 |
| 20 | Hammer | 5 |
| 21 | Hacksaw Frames | 5 |
| 22 | Cordless Impact Wrench with Kit | 02 |
| 23 | Battery Charger | 05 |
| 24 | Bench Vice | 02 |
| 25 | Chisel | 02 |
| 26 | Voltmeter (Analog & Digital) | 05 |
| 27 | Ampere Meter (Analog & Digital) | 05 |
| 28 | Watt Meter (Analog & Digital) | 05 |
| 29 | VAR Meter | 05 |
| 30 | Digital Power Factor Meter | 02 |
| 31 | Analog Multimeter | 05 |
| 32 | Energy meter Digital- Three phase | 05 |
| 33 | Spanner set (Open end) | 02 |
| 34 | Ratcheted Set | 02 |
| 35 | SWG Wire Gage | 05 |
| 36 | Spirit Level | 05 |
| 37 | Screw Driver Set Chordless (Battery Operated) | 01 |
| 38 | Multimedia Projector | 01 |
| 39 | Anemometer (For Solar irradiance) | 05 |
| 40 | Wind Energy Simulator Trainer Model | 02 |

LIST OF CONSUMABLE MATERIAL

For the Class of 25 Students (6-Month Course)

| SR.NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Solder wire. | 500-Gram |
| 2 | Soldering paste | 10 |
| 3 | PVC Pipe/ Duct. | 500 ft |
| 4 | PVC clamp. | 3Pkt |
| 5 | PVC board with plate. | 50 |
| 6 | Distribution Box-PVC | 10 |
| 7 | AC MCB 2P 63A | 06 |
| 8 | AC MCB 1P 16A | 10 |
| 9 | AC MCB 1P 10A | 10 |
| 10 | Rotary Box | 4 |
| 11 | DC Wire 4mm XLPE (tinned coated) | 2 coils |
| 12 | DC Wire 6mm XLPE (tinned coated) | 2 coils |
| 13 | DC Wire 10mm XLPE (tinned coated) | 1 coil |
| 14 | DC Wire 25mm XLPE (tinned coated) | 40 ft |
| 15 | Wire 1/0.044 | 2 Coil |
| 16 | Wire 3/0.029 | 5 Coil |
| 17 | Wire 7/0.029 | 2 Coil |
| 18 | Wire 7/0.044 | 1 Coil |
| 19 | Single Core Cable 3/0.029 | 1 Coil |
| 20 | 2 core cable 7/0.029 | 1 Coil |
| 21 | 3 core cable 7/0.029 | 1 Coil |
| 22 | 4 core cable 7/0.064 | 1 Coil |
| 23 | Push Button (2H) | 10 |
| 24 | Push Button (3H) | 10 |
| 25 | Flexible Pipe 3/4” | 20 ft |
| 26 | Flexible Pipe 1” | 20 ft |
| 27 | Duct Putty 40x40 | 10 |
| 28 | Duct Putty 60x60 | 10 |
| 29 | Rawal Plug | 100 No. |
| 30 | Panel indicators | 12 |
| 31 | Intermediate Switch | 10 |
| 32 | Screw 1.5” | 5 boxes |
| 33 | Single pole switch. | 50 |
| 34 | Lamp holder | 25 |
| 35 | Lamp AC/DC | 25 |
| 36 | PVC Connector Strip | 25 |
| 37 | Drill bits | 25 |
| 38 | Electrical PVC tapes (Multi colors) | 25 |
| 39 | Two-way switch | 25 |
| 40 | Two pole switches | 25 |
| 41 | Junction Box | 25 |
| 42 | Photocopy Paper -A4 | 12 Rims |
| 43 | PVC Cable Ties | 05 Pkt |
| 44 | PVC Elbow -3/4" (Packet -100-No) | 05 Pkt |
| 45 | PVC Saddle -3/4" (Packet -100-No) | 05 Pkt |
| 46 | PVC Distribution Box Casing for breaker | 12 |
| 47 | Connector MC-4 1500V (set) | 50 |
| 48 | PVC Flexible -2 Core Cable - 40/0.0076 | 3 Coils |
| 49 | Connector/Tumble -6-mm(100nos ) | 1 Pkt |
| 50 | Connector/Tumble -25-mm (100 Nos) | 1 Pkt |
| 51 | DC MCB 2P 63A & 125A | 10 |
| 52 | AC MCCB 3P 40A | 10 |
| 53 | Magnetic Contactors 2+2 | 20 |
| 54 | Phase Failure Relay | 5 |
| 55 | Drawing Charts | 200 |
| 56 | Exercise Board (800x1200 mm) | 25 |
| 57 | Cable (4-core) 10-mm | 01 coil |

Trade Registration Form

- Title of the Qualification.

Renewable Energy System Design (Wind)

- Organogram / Pathway / Equivalencies.

| Entry Level | Vocational Qualification | Equivalence | Next Progression |
| --- | --- | --- | --- |
| Minimum Intermediate preferably DAE Electrical or Electronics | N/A | N/A | N/A |

- List of Competencies/Modules

|  | Competency Standards/ Modules |
| --- | --- |
| Competency 1 | Demonstrate Basic Communication Skills |
| Competency 2 | Perform Basic Computer Operations |
| Competency 3 | Apply Wind Power Plant Safety Procedure |
| Competency 4 | Interpret Renewable Energy Resources |
| Competency 5 | Interpret Wind Power Generation |
| Competency 6 | Evaluate Basic Parameters in Wind Power Generation |
| Competency 7 | Interpret Technical Drawings |
| Competency 8 | Apply Environmental Protection Procedures |
| Competency 9 | Perform Operations of Wind Power Plant |
| Competency 10 | Perform Electrical Testing on Wind Power Plant |
| Competency 11 | Perform Inspection of Mechanical Systems |
| Competency 12 | Perform Preventive Maintenance of Mechanical Systems |
| Competency 13 | Perform Preventive Maintenance of Electrical Systems |
| Competency 14 | Perform Preventive Maintenance of Hydraulic Systems |
| Competency 15 | Perform Corrective Maintenance of Wind Power Plant |

- Class / Workshop Size/ Dimension (25 Students Capacity)

|  | Requirement | Size/Dimensions(feet) |
| --- | --- | --- |
| Classroom size | Yes | 25x30 |
| Workshop/Laboratory size | Yes | 40x40 |
| Any other Requirement | No | No |

- Machinery / Lab Equipment (with quantity/25 Students)

| Serial No. | Item | Qty. Required |
| --- | --- | --- |
| 1 | AVO Meter | 05 |
| 2 | Combination Plier. | 10 |
| 3 | Nose plier. | 10 |
| 4 | Wire Stripper | 10 |
| 5 | Soldering Iron | 05 |
| 6 | Set of Screw Drivers | 10 |
| 7 | Ring Spanner Set | 02 |
| 8 | Tacho Meter-Digital | 05 |
| 9 | Earth resistance tester (Digital) Spike Type, Clamp Type) | 05 |
| 10 | Continuity & Insulation tester | 04 |
| 11 | IR Temperature Gun | 05 |
| 12 | Digital Multimeter | 05 |
| 13 | Cable Knife | 10 |
| 14 | Phase Sequence Meter | 02 |
| 15 | Clamp-On Meter (AC &DC) | 05 |
| 16 | Lux Meter | 02 |
| 17 | Lugs Punching Machine (Hydraulic and Manual) | 02 |
| 18 | Battery Tester | 02 |
| 19 | Micro Meter mm | 05 |
| 20 | Hammer | 5 |
| 21 | Hacksaw Frames | 5 |
| 22 | Cordless Impact Wrench with Kit | 02 |
| 23 | Battery Charger | 05 |
| 24 | Bench Vice | 02 |
| 25 | Chisel | 02 |
| 26 | Voltmeter (Analog & Digital) | 05 |
| 27 | Ampere Meter (Analog & Digital) | 05 |
| 28 | Watt Meter (Analog & Digital) | 05 |
| 29 | VAR Meter | 05 |
| 30 | Digital Power Factor Meter | 02 |
| 31 | Analog Multimeter | 05 |
| 32 | Energy meter Digital- Three phase | 05 |
| 33 | Spanner set (Open end) | 02 |
| 34 | Ratcheted Set | 02 |
| 35 | SWG Wire Gage | 05 |
| 36 | Spirit Level | 05 |
| 37 | Screw Driver Set Chordless (Battery Operated) | 01 |
| 38 | Multimedia Projector | 01 |
| 39 | Anemometer (For Solar irradiance) | 05 |
| 40 | Wind Energy Simulator Trainer Model | 02 |

- Consumable (with quantity/25 Students)

| Serial No. | Item | Qty. Required |
| --- | --- | --- |
| 1 | Solder wire. | 500-Gram |
| 2 | Soldering paste | 10 |
| 3 | PVC Pipe/ Duct. | 500 ft |
| 4 | PVC clamp. | 3Pkt |
| 5 | PVC board with plate. | 50 |
| 6 | Distribution Box-PVC | 10 |
| 7 | AC MCB 2P 63A | 06 |
| 8 | AC MCB 1P 16A | 10 |
| 9 | AC MCB 1P 10A | 10 |
| 10 | Rotary Box | 4 |
| 11 | DC Wire 4mm XLPE (tinned coated) | 2 coils |
| 12 | DC Wire 6mm XLPE (tinned coated) | 2 coils |
| 13 | DC Wire 10mm XLPE (tinned coated) | 1 coil |
| 14 | DC Wire 25mm XLPE (tinned coated) | 40 ft |
| 15 | Wire 1/0.044 | 2 Coil |
| 16 | Wire 3/0.029 | 5 Coil |
| 17 | Wire 7/0.029 | 2 Coil |
| 18 | Wire 7/0.044 | 1 Coil |
| 19 | Single Core Cable 3/0.029 | 1 Coil |
| 20 | 2 core cable 7/0.029 | 1 Coil |
| 21 | 3 core cable 7/0.029 | 1 Coil |
| 22 | 4 core cable 7/0.064 | 1 Coil |
| 23 | Push Button (2H) | 10 |
| 24 | Push Button (3H) | 10 |
| 25 | Flexible Pipe 3/4” | 20 ft |
| 26 | Flexible Pipe 1” | 20 ft |
| 27 | Duct Putty 40x40 | 10 |
| 28 | Duct Putty 60x60 | 10 |
| 29 | Rawal Plug | 100 No. |
| 30 | Panel indicators | 12 |
| 31 | Intermediate Switch | 10 |
| 32 | Screw 1.5” | 5 boxes |
| 33 | Single pole switch. | 50 |
| 34 | Lamp holder | 25 |
| 35 | Lamp AC/DC | 25 |
| 36 | PVC Connector Strip | 25 |
| 37 | Drill bits | 25 |
| 38 | Electrical PVC tapes (Multi colors) | 25 |
| 39 | Two-way switch | 25 |
| 40 | Two pole switches | 25 |
| 41 | Junction Box | 25 |
| 42 | Photocopy Paper -A4 | 12 Rims |
| 43 | PVC Cable Ties | 05 Pkt |
| 44 | PVC Elbow -3/4" (Packet -100-No) | 05 Pkt |
| 45 | PVC Saddle -3/4" (Packet -100-No) | 05 Pkt |
| 46 | PVC Distribution Box Casing for breaker | 12 |
| 47 | Connector MC-4 1500V (set) | 50 |
| 48 | PVC Flexible -2 Core Cable - 40/0.0076 | 3 Coils |
| 49 | Connector/Tumble -6-mm(100nos ) | 1 Pkt |
| 50 | Connector/Tumble -25-mm (100 Nos) | 1 Pkt |
| 51 | DC MCB 2P 63A & 125A | 10 |
| 52 | AC MCCB 3P 40A | 10 |
| 53 | Magnetic Contactors 2+2 | 20 |
| 54 | Phase Failure Relay | 5 |
| 55 | Drawing Charts | 200 |
| 56 | Exercise Board (800x1200 mm) | 25 |
| 57 | Cable (4-core) 10-mm | 01 coil |

- Student Teacher Ratio

25:1

- Teacher Qualification

B.Sc. Engineering and 2 years of relevant work experience in wind power plant industry

Or

B-Tech and 3 years of relevant work experience in wind power plant industry

Or

Diploma Associate Engineer (DAE) and 5 years’ relevant work experience in wind power plant industry

- Duration / Credit Hours / Contact Hours

| Credit Hours | Duration |
| --- | --- |
| 30 | 6 Months |

- Any other co-curricular activities

| Activity | Requirement |
| --- | --- |
| Playgrounds | Yes |
| Industry linkage | Yes |
| Teacher training | Yes |