|  | Assessment Evidence Guide For Domestic HVACR Technician Level-2 Level-2 Equivalent to G-III Formative Assessment 7. Maintain Domestic Air Conditioner Date 13-14 April, 2023 Lahore National Vocational & Technical Training Commission |
| --- | --- |

Instruction Sheet for the Candidate

| Qualification | Domestic HVACR Technician Level-2 |
| --- | --- |
| Competency Standard(s) | 7. Maintain Domestic Air Conditioner |
| Purpose of Assessment | Formative Assessment |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard, you are required to complete the following within the given time frame 24 Hrs. (for practical demonstration & assessment): - Diagnose Faults in Residential Air Conditioner - Repair Window / Split Air Conditioner. - Service Window Air Conditioner. - Service Split Air Conditioner. |
| Time: 24 Hrs. | During a practical assessment, under observation by an assessor, you are required to - Check for obvious problem to determine which component or system is causing the problem. - Select tools, equipment and related accessories according to requirements and standards. - Check power supply, electric wiring, glass fuse and electronic components as recommended by manufacturer, and record the results. - Check evaporator filter and condenser coil as recommended by manufacturer, and record the results. - Check refrigerant pressure as recommended by manufacturer, and record the results. - Isolate and recheck the causes of the problem and rectify the fault. - Select tools, equipment and related accessories according to job requirements. - Disconnect the Air Conditioner from electric supply and follow the manual instructions for rectification. - Rectify the diagnosed faults; repair / replace the components, as necessary. - Switch on the Air Conditioner to check the performance of electrical / electronic and mechanical components as specified in the manufacturer manual and record the results. |
| Minimum Evidence Required |  |
|  | - Select tools, equipment and related accessories according to job requirements. - Start the Air Conditioner, check and record performance by using specified test instruments. - Disconnect the Air Conditioner from electric supply and remove Air Conditioner from the cover. - Secure the electric / electronic components with polythene sheet. - Clean / wash all mechanical parts of Window Air conditioner with specified cleaning agents / detergent by using pressure pump. - Fix the Air conditioner in the cover, connect with electric supply, check and record performance. - Select tools, equipment and related accessories according to job requirements. - Start the Air Conditioner, check and record performance by using specified test instruments. - Pump down the split Air Conditioner and dismantle both indoor unit and condensing unit. - Clean the components of Air conditioner with specified cleaning agents / tools and material. - Re-Install the indoor and outdoor unit; connect with refrigerant pipes, control wires and evacuation; open the service valves and leak testing. - Switch on the Air Conditioner, check and record performance. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Domestic HVACR Technician Level-2 |
| Competency Standards | 7. Maintain Residential Air Conditioner |
| Assessment Task | - Diagnose Faults in Residential Air Conditioner - Repair Window / Split Air Conditioner. - Service Window Air Conditioner. - Service Split Air Conditioner. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check for obvious problem to determine which component or system is causing the problem |  |  |
| - Select tools, equipment and related accessories according to requirements and standards |  |  |
| - Check power supply, electric wiring, glass fuse and electronic components as recommended by manufacturer, and record the results |  |  |
| - Check evaporator filter and condenser coil as recommended by manufacturer, and record the results |  |  |
| - Check refrigerant pressure as recommended by manufacturer, and record the results |  |  |
| - Isolate and recheck the causes of the problem and rectify the fault |  |  |
| - Select tools, equipment and related accessories according to job requirements |  |  |
| - Disconnect the Air Conditioner from electric supply and follow the manual instructions for rectification |  |  |
| - Rectify the diagnosed faults; repair / replace the components, as necessary |  |  |
| - Switch on the Air Conditioner to check the performance of electrical / electronic and mechanical components as specified in the manufacturer manual and record the results |  |  |
| - Select tools, equipment and related accessories according to job requirements |  |  |
| - Start the Air Conditioner, check and record performance by using specified test instruments |  |  |
| - Disconnect the Air Conditioner from electric supply and remove Air Conditioner from the cover |  |  |
| - Secure the electric / electronic components with polythene sheet |  |  |
| - Clean / wash all mechanical parts of Window Air conditioner with specified cleaning agents / detergent by using pressure pump |  |  |
| - Fix the Air conditioner in the cover, connect with electric supply, check and record performance |  |  |
| - Select tools, equipment and related accessories according to job requirements |  |  |
| - Start the Air Conditioner, check and record performance by using specified test instruments |  |  |
| - Pump down the split Air Conditioner and dismantle both indoor unit and condensing unit |  |  |
| - Clean the components of Air conditioner with specified cleaning agents / tools and material |  |  |
| - Re-Install the indoor and outdoor unit; connect with refrigerant pipes, control wires and evacuation; open the service valves and leak testing |  |  |
| - Switch on the Air Conditioner, check and record performance |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | Domestic HVACR Technician Level-2 |
| --- | --- |
| Competency Standard(s) | 7. Maintain Domestic Air Conditioner |
| Candidate Details | Name: ____________________________________________________________________ Registration/Roll Number: ________________________Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________ Assessor’s code: __________________ Signature: __________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Diagnose Faults in Residential Air Conditioner - Repair Window / Split Air Conditioner. - Service Window Air Conditioner. - Service Split Air Conditioner. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Check for obvious problem to determine which component or system is causing the problem |  |  |  |  |  |
|  | Select tools, equipment and related accessories according to requirements and standards |  |  |  |  |  |
|  | Check power supply, electric wiring, glass fuse and electronic components as recommended by manufacturer, and record the results |  |  |  |  |  |
|  | Check evaporator filter and condenser coil as recommended by manufacturer, and record the results |  |  |  |  |  |
|  | Check refrigerant pressure as recommended by manufacturer, and record the results |  |  |  |  |  |
|  | Isolate and recheck the causes of the problem and rectify the fault |  |  |  |  |  |
|  | Select tools, equipment and related accessories according to job requirements |  |  |  |  |  |
|  | Disconnect the Air Conditioner from electric supply and follow the manual instructions for rectification |  |  |  |  |  |
|  | Rectify the diagnosed faults; repair / replace the components, as necessary |  |  |  |  |  |
|  | Switch on the Air Conditioner to check the performance of electrical / electronic and mechanical components as specified in the manufacturer manual and record the results |  |  |  |  |  |
|  | Select tools, equipment and related accessories according to job requirements |  |  |  |  |  |
|  | Start the Air Conditioner, check and record performance by using specified test instruments |  |  |  |  |  |
|  | Disconnect the Air Conditioner from electric supply and remove Air Conditioner from the cover |  |  |  |  |  |
|  | Secure the electric / electronic components with polythene sheet |  |  |  |  |  |
|  | Clean / wash all mechanical parts of Window Air conditioner with specified cleaning agents / detergent by using pressure pump |  |  |  |  |  |
|  | Fix the Air conditioner in the cover, connect with electric supply, check and record performance |  |  |  |  |  |
|  | Select tools, equipment and related accessories according to job requirements |  |  |  |  |  |
|  | Start the Air Conditioner, check and record performance by using specified test instruments |  |  |  |  |  |
|  | Pump down the split Air Conditioner and dismantle both indoor unit and condensing unit |  |  |  |  |  |
|  | Clean the components of Air conditioner with specified cleaning agents / tools and material |  |  |  |  |  |
|  | Re-Install the indoor and outdoor unit; connect with refrigerant pipes, control wires and evacuation; open the service valves and leak testing |  |  |  |  |  |
|  | Switch on the Air Conditioner, check and record performance |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Domestic HVACR Technician Level-2 |
| --- | --- |
| Competency Standard(s) | 7. Maintain Domestic Air Conditioner |
| Candidate Details | Name: _____________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature: ________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: __________________________Assessor’s code: _________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |  |
| --- | --- | --- | --- | --- |
|  | What type of refrigerant used in air conditioner? |  |  |  |
|  | Define one TON of refrigeration. |  |  |  |
|  | Define Retrofitting. |  |  |  |
|  | Name any two-leak detector. |  |  |  |
|  | Why compressor oil used in compressor? |  |  |  |
|  | What is the purpose of oil filter? |  |  |  |
|  | Define air conditioning. |  |  |  |
|  | Define refrigerant. |  |  |  |
|  | What is the function of air filter in air conditioner? |  |  |  |
|  | Which type of tool used for pressure checking? |  |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature ________________________Assessor’s Signature_________________________ |  |  |  |