|  | Assessment Evidence Guide For Domestic HVACR Technician Level-2 Level-2 Equivalent to G-III Formative Assessment 8. Repair/Service of Domestic Refrigeration Units. |
| --- | --- |
|  | Date 13-14 April, 2023 Lahore |
|  | National Vocational & Technical Training Commission |

| Qualification | Domestic HVACR Technician Level-2 |
| --- | --- |
| Competency Standard(s) | 8. Repair/Service of Domestic Refrigeration Units. |
| Purpose of Assessment | Formative Assessment |

Instruction Sheet for the Candidate

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard, you are required to complete the following within the given time frame 20 Hrs. (for practical demonstration & assessment): - Diagnose Faults in Residential Refrigeration Units. - Repair / Service the Refrigerator / Freezer. - Repair / Service Electric Water Cooler / Water Dispenser. |
| Time: 20Hrs. | During a practical assessment, under observation by an assessor, you are required to - Check for obvious problem to determine which component or system is causing the problem - Select tools, equipment and related accessories according to requirements and standards - Check power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem by using AVO Meter / Gauge manifold as recommended by manufacturer and record the results - Eliminate the causes of the problem according to the manufacturer manual and standards - Isolate and recheck the causes of the problem and rectify the fault - Start the refrigeration unit and recheck as specified in the manufacturer manual and record the results - Disconnect the Refrigerator / Freezer from electric supply and follow the instructions in manufacture manual for rectification - Rectify the diagnosed faults; repair / replace the components, as necessary. - Check, wash and restore to the actual condition Refrigerator / Freezer Body / Cabinets. - Check, service, and replace, if necessary, the proper functioning of Thermostat / Door Gasket / Heaters. - Switch on the Refrigerator / Freezer to check the performance of electrical/ electronic and mechanical components as specified in the manufacturer manual and record the results. - Disconnect the water cooler / dispenser from electric supply and follow the manual instructions for rectification. - Rectify the diagnosed faults; repair / replace the components, as necessary. - Check, wash and restore to actual condition Water Cooler / Dispenser Body / Mounts. - Switch on water cooler / dispenser to check the performance of electrical / electronic and mechanical components as specified in the manufacturer manual and record the results. |
| Minimum Evidence Required |  |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Domestic HVACR Technician Level-2 |
| Competency Standards | 8. Repair/Service of Domestic Refrigeration Units. |
| Assessment Task | - Diagnose Faults in Residential Refrigeration Units. - Repair / Service the Refrigerator / Freezer. - Repair / Service Electric Water Cooler / Water Dispenser. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check for obvious problem to determine which component or system is causing the problem |  |  |
| - Select tools, equipment and related accessories according to requirements and standards |  |  |
| - Check power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem by using AVO Meter / Gauge manifold as recommended by manufacturer and record the results |  |  |
| - Eliminate the causes of the problem according to the manufacturer manual and standards |  |  |
| - Isolate and recheck the causes of the problem and rectify the fault |  |  |
| - Start the refrigeration unit and recheck as specified in the manufacturer manual and record the results |  |  |
| - Disconnect the Refrigerator / Freezer from electric supply and follow the instructions in manufacture manual for rectification |  |  |
| - Rectify the diagnosed faults; repair / replace the components, as necessary |  |  |
| - Check, wash and restore to the actual condition Refrigerator / Freezer Body / Cabinets |  |  |
| - Check, service, and replace, if necessary, the proper functioning of Thermostat / Door Gasket / Heaters |  |  |
| - Switch on the Refrigerator / Freezer to check the performance of electrical/ electronic and mechanical components as specified in the manufacturer manual and record the results. |  |  |
| - Disconnect the water cooler / dispenser from electric supply and follow the manual instructions for rectification |  |  |
| - Rectify the diagnosed faults; repair / replace the components, as necessary |  |  |
| - Check, wash and restore to actual condition Water Cooler / Dispenser Body / Mounts |  |  |
| - Switch on water cooler / dispenser to check the performance of electrical / electronic and mechanical components as specified in the manufacturer manual and record the results |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Assessors Judgment Guide

| Qualification | Junior Technician HVACR Level-2 |
| --- | --- |
| Competency Standard(s) | 8. Maintain Residential Refrigeration Units. |
| Candidate Details | Name: __________________________________________________________________ Registration/Roll Number: ________________________Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________ Assessor’s code: __________________ Signature: __________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Diagnose Faults in Residential Refrigeration Units. - Repair / Service the Refrigerator / Freezer. - Repair / Service Electric Water Cooler / Water Dispenser. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Check for obvious problem to determine which component or system is causing the problem |  |  |  |  |  |
|  | Select tools, equipment and related accessories according to requirements and standards |  |  |  |  |  |
|  | Check power supply, electric wiring, electric / electronic components and refrigerant pressure to determine the exact problem by using AVO Meter / Gauge manifold as recommended by manufacturer and record the results |  |  |  |  |  |
|  | Eliminate the causes of the problem according to the manufacturer manual and standards |  |  |  |  |  |
|  | Isolate and recheck the causes of the problem and rectify the fault |  |  |  |  |  |
|  | Start the refrigeration unit and recheck as specified in the manufacturer manual and record the results |  |  |  |  |  |
|  | Disconnect the Refrigerator / Freezer from electric supply and follow the instructions in manufacture manual for rectification |  |  |  |  |  |
|  | Rectify the diagnosed faults; repair / replace the components, as necessary |  |  |  |  |  |
|  | Check, wash and restore to the actual condition Refrigerator / Freezer Body / Cabinets |  |  |  |  |  |
|  | Check, service, and replace, if necessary, the proper functioning of Thermostat / Door Gasket / Heaters |  |  |  |  |  |
|  | Switch on the Refrigerator / Freezer to check the performance of electrical/ electronic and mechanical components as specified in the manufacturer manual and record the results |  |  |  |  |  |
|  | Disconnect the water cooler / dispenser from electric supply and follow the manual instructions for rectification |  |  |  |  |  |
|  | Rectify the diagnosed faults; repair / replace the components, as necessary |  |  |  |  |  |
|  | Check, wash and restore to actual condition Water Cooler / Dispenser Body / Mounts |  |  |  |  |  |
|  | Switch on water cooler / dispenser to check the performance of electrical / electronic and mechanical components as specified in the manufacturer manual and record the results |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Domestic HVACR Technician Level-2 |
| --- | --- |
| Competency Standard(s) | 8. Repair/Service of Domestic Refrigeration Units. |
| Candidate Details | Name: ____________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature: ________________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor: __________________________Assessor’s code: _________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What type of refrigerant used in domestic refrigerator? |  |  |
|  | Enlist types of refrigerators. |  |  |
|  | Define refrigeration. |  |  |
|  | How much pressure is required to check leakage in refrigerator? |  |  |
|  | Which type of compressor used in domestic refrigerator? |  |  |
|  | Define refrigerant. |  |  |
|  | What is PCB kit? |  |  |
|  | Name any two types of water cooler. |  |  |
|  | Define trouble shooting. |  |  |
|  | Define lubricant. |  |  |

Feedback to the Candidate

Candidate’s Signature ________________________Assessor’s Signature_________________________